## Slide 1: Proposal of a digital-analog RPC front-end for synchronous density particle measure for DHCAL application
R.Cardarelli and R.Santonico
INFN and University of Rome Tor Vergata

## Slide 5: .

## Slide 8: Starting from the Argo experience: digital vs analog read out

## Slide 9: Test @ BTF (LNF)of a RPC working in streamer mode
Moto Giovane SRL

## Slide 10: Extrapolation to the avalanche mode
2* 105/m2
30 pC charge delivered
in the gas per mip
2*104/m2
Particle density up to
particle density up to
300 pC charge delivered
in the gas in per mip
streamer mode
avalanche mode

## Slide 11: Pad feature
Pad 100pF
.
300 mm
300mm
30 pC for a single mip
0.3mC for 10.000 mips
(10mips/cm2)
1pC
10uC
Total charge delivered in the RPC gas
Prompt charge induced
in the pad

## Slide 12: Simulation of the front-end electronics for an input amplitude in the range 1pC - 10nC
Out amplifier pulse
Pad capacitance 10pF
Prompt charge pulse of the RPC

## Slide 13: Simulated pad signal
350uV
4 V
mips
10.000 mips

## Slide 14: Simulated output amplifier
10.000 mips
1 mip

## Slide 15: Detail of the simulated out amplifier pulse for mips to 10.000 mips
mips
10.000 mips
Time of threshold

## Slide 16: Time of threshold v.s. pad signal charge
Logarithmic part
Parabolic part

## Slide 17: Fit of the time of threshold v.s. pad charge
ns
ns
pC
pC

## Slide 18: Time resolution at high desity of particles

## Slide 19
Time resolution of RPC for n synchronous particle
σt = σRPC/

## Slide 20: RPC DHCAL layout
RPC
pad
iron

## Slide 22: Tentative readout scheme of the experiment
30 x 30mm2
module
pad
module
cluster
C=1pF
FPGA
Front-end
16 ch +analog or
Optical link
6 Gbit/sec
Maximum readout
time 500 ns
7.5 mm

## Slide 23
Circuit of the proposed front end
IN 1
IN 16
Digital out
Digital out
Discr.
Discr.
Discr.
Tdc time over th
Digital out
Digital out

## Slide 24: FPGA function
.
in1
in2
in10
TDC 1
TDC2
TDC10
Optical link
Trigger in
Data ouput
in1
in2
in10
Digital in 1
Digital in 2
Digital in 10

## Slide 25: Front end connection to the FPGA
Front-end
We choose single ended LV TTL logic for the connection between FE and FPGA
The motivation is:
  Minimize the driver consumption (benefits both FE and FPGA)
  Simple and robust against noise
Pull up resistor
+3V
FPGA
Open collector TTL
Transmission line
GND

## Slide 26: Conclusions
We have shown the tentative scheme of digital-analog readout for DHCAL
The front-end electronics simulation shows that a dynamic factor of 10.000 is feasible
This simulation shows also that a 20 ps time resolution with 2 mm gas gap is possible with high multiplicity.
Nevertheless the same front end electronics can be optimize for DHCAL application

## Slide 27: Backup slides

## Slide 28: Tentative carpet structure
300 x 300 mm2
pad
module
cluster
carpet
C=100 pF

## Slide 29: Improving the Argo analog read out
The Argo results suggest that the Argo approach can be improved up to the limit of fully switching from the digital to the analog read out
Requirements
  Small size squared read-out pads instead of strips
  New front end electronics to fully exploit the extremely wide amplitude range of the detector: a factor of about 10000 required eg for 30x30 cm2 pads
  Full sensitivity for a single mip
Advantages
  Trigger threshold based on the total amplitude instead of the number of firing pads
  Low multiplicity trigger preserved by the front end sensitivity to mip
  Possibility to study the core/multicore shower structure in the range from low energies up to 100 PeV
  Possibility to study, even at low energy, events releasing a large amplitude in a single pad (small showers, end range protons…)

## Slide 30: Particle density v.s. distance of the shower core for different energies
ARGO ybj

## Slide 31: Tentative readout scheme of the experiment
300 x 300mm2
module
pad
module
cluster
C=100pF
FPGA
FPGA
Front-end
4 ch
Optical link
6 Gbit/sec
Maximum readout
time 500 ns

## Slide 32
Skeme of the proposed front end
IN 1
IN 4
Digital out
Digital out
Discr.
Discr.